## Slide 1: PL measurement electronics
Summer 2020

## Slide 2
Computer
Spectrometer Motor
PMT
PFI0 in
10
DAQ 6211
PFI4 out
+5 V
PFI3 in
PFI1 in
PFI2 in
PFI5 out
PFI6 out
GND
GND
PFI7 out
PFI3 in
…
GND
DAQ 6212 (Counter)
11
12
13
24
9
7
50 Ω
Spectrometer motor pin description:
#9 Shutter open (neg.true)
#10 Forward (Direction)
#11 Step
#12 Limit Switch Low (pos.true when open)
#13 Limit Switch High (pos.true when open)
#21 Return
#22 Shutter Open Return
#23 Forward/Return
#24 Step/Return
#26 Limit Switch Low/Return
*Wire colour match the experimental set up.
Photon Counts